3

Baum Pocket Aneroid (1050)

## Baum Pocket Aneroid

## Description

- 300 mmHg clinical sphygmomanometer for portable use.

- Meets the American National Standard ANSI/AAMI SP-10 for accuracy and performance.

- Available with Latex or Non-Latex components.

- Diecast zinc manometer housing.

- Precision low friction movement with twin pre-seasoned phosphor-bronze diaphragm capsules.

- Unique high contrast scale and red pointer for increased visibility and reduced parallax error.

- Calibrated® V-Lok® inflation System

## Finish:

- Warm Gray textured baked enamel

## Packaged Dimensions:

- 81⁄2” L x 47⁄8” W x 21⁄2” H

## Packaged Weight:

- 1.05 lbs.

## Standard Cuff Color:

- Medium Blue

## Cuff Size:

- Adult

## Inflation System:

- Calibrated® V-Lok®.

## Holder:

- Zippered Case