Baum Roll-By® mobile aneroid Description - 300 mmHg clinical sphygmomanometer for mobile use. - Meets the American National Standard ANSI/AAMI SP-10 for accuracy and performance. - Available with Latex or Non-Latex components. - Unique, low reflection, high contrast scale and red pointer to increase visibility and reduce parallax error. - Diecast aluminum 5-wheel base(20”dia.) with 2”hooded casters and 2lb. cast iron weight for increased stability. - Manometer housing is mounted at a 20° angle for ease of viewing. - Heavy gauge machined aluminum tubing. - Calibrated® V-Lok® inflation System and 8 feet of Extendex® coiled tubing. Baum Roll-By® model 1150 - Large Basket - The Baum Roll-By® model 1150 has a large circular (360°) basket to store a full complement of inflation systems. Finish: - Neutral White ABS plastic Packaged Dimensions: - 22” L x 211⁄2” W x 151⁄4” H Packaged Weight: - 17.70 lbs. Standard Cuff Color: - Medium Blue Cuff Size: - Adult Inflation System: - Calibrated® V-Lok® Cuff Holder: - Large Circular Basket.