colro5

Baum Wall Aneroid (0950)

Description - 300 mmHg swivel-type (110° arc) clinical sphygmomanometer for wall mounting. - Meets the American National Standard ANSI/AAMI SP-10 for accuracy and performance. - Available with Latex or Non-Latex components. - Neutral White ABS plastic manometer with chrome plated steel bracket. - Unique high contrast scale and red pointer increase visibility and reduce parallax error. - 2 convenient cuff storage options available: large basket or small basket. - Calibrated® V-Lok® inflation System with 8 feet of Extendex® Tubing. Instrument Finish: - Neutral White ABS Plastic. Instrument Dimensions: - 61⁄4” L x 61⁄4” W x 4” H Packaged Dimensions: - 105⁄8” L x 71⁄4” W x 71⁄2” H Basket Color: - Neutral White (standard) Instrument Weight: - 1.10 lbs. Packaged Weight: - 3.25 lbs Cuff Size: - Adult Inflation System: - Calibrated® V-Lok Holder: - Wall Basket (Nylon Coated Steel).