berovan marketing, inc.

16 E.Osmena St., P.O. Box 487, Brgy. Capitol, Cebu City 6000 Philippines

Tel. No. (032) 2544581 / 2530136

Fax. No. 32-2532883

------------------------------------------------------------------------------------------------------------

ECG C120

Specification

- Built in rechargeable battery.

- Auto power off function automatically turns off power in battery operation if the device                 was left for more than 5 minutes.

- Quick print function shortens the printing time of waveforms in auto mode.

- Internal simulator is available.

- Auto ID number function automatically counts ID number one by one after recording in                auto mode.

- The thickness of the waveform baseline can be selected as either 2 or 3 dots.

- 1-3 recording channel.

- Analysis in arrhythmia check recording.

- Automatic nervous function.

12 lead simultaneous data acquisition.

# Interpretation Feature

- Arrhythmia classification: VPB, SVPB, RATE, DROP, LATE, R-R, irregular.

- R-R analysis: Total R-R, Mean Rate, Mean R-R, maximum R-R, Standard Deviation or R-R, coefficient of variation of R-R.

- The FME ECG diagnostic program has 173 interpretation codes including 135 codes for adult and 38 codes for child.

- SVPB waveform recording prints the VPB waveform for 7 seconds from the previous 2 heart beats for all SVPB waveform in arrhythmia check recording.

- The diagnostic criteria of left ventricular hypertrophy in FME analysis code 0310, 0330,0340,0311, 0312 can be change in adult resting ECG.

- Arrhythmia diagnostic criteria can be change in child resting ECG.

- Acute infraction diagnosis executes in adult resting ECG.

# Technical Data

Power supply: AC 100-240V, 50/60 hz.

Dimension: 280mm X 202mm X 67mm

Weight 2.4 kg including battery rechargeable

LCD: 128 X 64 dots

3 channel waves

Power consumption: 30VA (Max.)