ECG C110

Cardisuny C110

ECG 1 or 2 channel, Digital Electrocardiograph
Durable and compact design, easy operation and High resolution printout.

Specification :

- Automatic or manual recording.

- Weight only 2 Kg.

- Can be operated by AC and built in rechargeable battery.

- High resolution printout on roll paper and z-fold paper.

- LCD display.

- Button switch.

Automatic / Manual recording
1 or 2-ch recording
3 sec. to 10 sec. lead recording time
Digital filter: AC interference, Muscle and Base line drift
LCD display: Lead, H.R (BPM) and Battery low indication
Alarms: Electrode OFF, R-wave detection error, Paper error
Auto P-wave recording start
Auto base line positioning