ALS-MT116

Size: 750*475*920mm

ACCESSORIES & DETAILS:

- One-piece ABS plastic top board with arc handle and raised-edge design ， covered

transparent soft plastic glass

- Stainless steel guard rail

- Dust basket, Utility container, Needle disposal holder ,Sliding side shelf

- IV pole, Defibrillator shelf, C.P.R Board (Cardiac Massage Table), Power outlet&Hooks,

Oxygen Cylinder Holder.

- Centralized lock

- Four luxurious noiseless casters, two with brakes

- High-quality aluminum columns

- Label cards for drawers

- Five ABS drawers:1 big,2 small drawers and 2 middle drawers (each inner with partitions can

be organized freely into different size units)