EXAMINATION TABLE, GYNAE, CABINET & DRAWERS

Product Code:  44-197-03

Description

- 2 section Examination Table fitted with 50mm mattress covered with washable vinyl fabric.

- Frame made form M.S. square section pipe and CRCA sheet.

- Main body fitted with 3 Drawers and 3 Utility Cabinets.

- Fitted with an adjustable tray on the side for a B.P. apparatus.

- Perineal cut provided at the foot section.

- Back-rest adjustable by pneumatic pump.

- All metal components pre-treated and epoxy powder coated.

- Legs fitted with PVC / rubber stumps.

- Provided with2 adjustable Knee Crutches.

Options: At extra cost. Please specify when enquiring / ordering.

(A) A recessible footstep for patient’s convenience. (See inset pic.)

Dimensions:

- Approx. 1870 x 560 x 810mm (L x W x H).

Shipping: Assembled.

KICK BUCKET, EPC

Product Code:  44-160

Description

- M.S. tubular pipe frame, mounted on 3 x 75mm swivel castors.

- Supplied with stainless steel Bucket.

- All metal parts pre-treated and epoxy powder coated.

Dimensions:

- Approx. 300 x 300mm (H* x D).

- *Height up to ring.

Shipping: Assembled.

DOCTOR’S STOOL, GAS SPRING

Product Code:  44-155-01

Description

- Revolving stool mounted on a polyurethane base fitted with 5 x 50mm swivel castors.

- Height adjustable by means of a gas spring.

- Upholstered cushioned top for comfort.

Dimensions:

- Seat dia.: Approx. 380mm.

- Lift: Approx. 120mm

Shipping: Assembled.