Philips Efficia CM100 863300 (release C.00):

- 10” color LCD TFT touchscreen and ±15 degree tilted display for optimized view.

- Patient type: adult, pediatric, and neonate

- 8 real-time waveforms

- With navigation wheel and hard keys for alarm silence, NBP start/stop, and freeze waveforms.

- Parameters: 3-5L ECG, impedance respiration, SpO2, Non-invasive blood pressure, temperature, and optional dual IBP and CO2 monitoring

- With enhanced arrhythmia analysis including atrial fibrillation and end atrial fibrillation detection.

- CO2 monitoring choice of mainstream or microstream.(optional)

- Optional Masimo rainbow non-invasive SpHb / SpOC, SpCO, and acoustic RRa

- With motion tolerant SpO2 signal processing and perfusion indicator to determine signal quality

- NBP measurement modes: manual, automatic and stat. NBP is capable to be used for venous puncture.

- Screen layout choices: 5 waveform layout, 8 waveform layout, large number layout, OxyCRG, cascading ECG layout, and large ECG layout.

- With manual event button to create a record of events.

- Can be connected to a central station using standard wired or optional wireless network.

- With Li-ion battery capable of 4 hours operation

- With optional built-in 4 channel recorder

- With alarm reminder and 360° alarm light

- Can store up to 200 alarms and manual events for the current patient. Alarms/events are viewable on-screen

- Trend database can store up to 240 hours (10 days) of trend data for a single patient, and optional full disclosure that can store up to 48 hours of all waveform data

- With 3 default profiles (General ward, ICU, OR) and 3 customized profile.

- With “demo” feature for staff training.

- Standard external display connection

- With optional barcode reader support

- Standard HL7 output

- With dual speaker

- With night mode to automatically reduce screen brightness, alarm volume and HR/pulse tone volume to minimize noise and promote patient rest at night.

- Integrated handle for better feel and grip for ease of portability

- With dashboard connectivity that allows hospital biomedical engineers to quickly view the status of the monitor, upgrade monitor software, and update configuration settings from a remote server.

- Optional bed rail hook for transport