Specifications

Electronic weight scale 
competitive price and high quality 
delivery rapidly 
CE/ISO approved

Model Number: RGZ-120 
Type: Medical / Personal Scale 
Adult scale / personal scale / health scale:

Max.capacity:120kg;

Scale with KG & LB two displaying; Alloy height measuring rod

Adult Scale / personal scale / health scale:
Max.capacity:120kg;
Graduation:500g;
Scale with KG & LB two displaying;
Hight measure range: 70cm-190cm;
Hight graduation:5mm; 
Load platform area: 37.5x27.5cm;
Packing: 30X35X93cm;
Net Weight: 19kg;
Gross Weight: 20kg;