**ALS-ST004**

Size:1930\*640\*500/900mm

Material:

It is made of electrostatic spray and aluminum alloy frame, top is high quality foam

**** in the mattress, cover is high quality artificial leather .

\* Two ABS guardrails on both sides of stretcher.

\* Back section is adjusted by gas spring: 0-75 degree.

\* Height is adjustable: 400mm

\* Adjustable directional caster, mattress.

\* 6" central controlled caster.

\* Product size is made according to customer's demand.

Parameters:

\* Load bearing: 135kg

Standard Accessories：

1. infusion stand Oxygen bottle holder