**HEBEI PUKANG MEDICAL INSTRUMENTS CO., LTD**

**20 years' experience in hospital furniture**

**CE- and FDA-approved | ISO 9001- and ISO 13485-certified | Exporting to 98 countries**



**E-3-#0128 Wheeled Stretcher**

**Key Specifications/Special Features:**

**Standard features**
•  Advanced electrostatic plastic spray of surface, anti-aging and anti-rust.
•  Bed frame is profile steel, stable and reliable
•  Both of the platform and side rails are ABS materials
•  Backrest is controlled by hydraulic auxiliary spring
•  Height adjustable by crank
•  Equipped with steering castor
•  4-wheel, Ø125 mm, 360° swivel wheels
•  Central locking with brake pedal

**Specifications**
Model number: E-3 hospital stretcher
Overall length: 77.0" (196.0cm)
Overall width: 26.0" (66.0cm)
Weight capacity: 330.7lbs (150kg)
Height range (to litter top)
High: 34.0" (87.0cm)
Low: 23.0" (58.0cm)
Patient surface: 24.0" x 61.0" (90 x 193cm)
Caster diameter: 4.9" (12.5cm)
Temperature of work environment: 5-40°C
Hospital grade plug: yes