MP-30A Syringe Pump

    - Automatic identify different size (5/10/20/30/50/60ml). ★

    - 9 infusion modes: rate, time, bodyweight, trapezium, loading dose, sequential, micro, TIVA, relay★

    - Infusion rate range: 0.1-2000mL/h, 0.1mL/h increment★

    - Mechanical accuracy ±1%,accuracy including syringe ±2%★

    - KVO available from 0.1-5.0mL/h

    - 3 types of bolus available, manual bolus, rapid quantitative bolus, automatic bolus★

11 levels of alarm, low/middle/high alarm with audio and visual reminder

    - Color TFT touch screen with screen auto lock★

    - 11 level occlusion available★

    - Titration function available★

    - Calibration function to enable different brand syringe which is compliant to industry standard.

    - All types of alarm: Near End, Infusion End, Occlusion Alarm, Low Battery, Battery Empty, No Battery, No Power Supply, System trouble, Air Bubble and Reminder Alarm.

    - Strong date storage: 2000 events can be stored★

    - Connectivity: LAN/WIFI function can connect to Infusion CMS★

    - Long time battery support, up to 6 hours with 5ml/h infusion rate

    - European CE or US FDA certification★

    - Very light design, only 1.6Kg with battery. ★

    - Barcode Scanner for quick patient information input★

    - Drug Library 1000 types★